## Grupa 1
Prilog 2.
Troškovnik_Grupa 1_Potrošni i rezervni dijelovi za ICP-MS Agilent 7800
Redni broj | Traženi predmet nabave, opis i tehničke specifikacije | Naziv/Tip: | Jed. mj. | Količina | Jedinična cijena bez PDV-a | Ukupna cijena bez PDV-a | Naziv proizvoda i proizvođača nuđenog jednakovrijednog proizvoda i tehnička specifikacija proizvoda (ispunjava se samo ako se nudi jednakovrijedni proizvod)
Proizvođač:
1 | Ni sampling cone, Cu base for ICP-MS Agilent 7800 |  | kom | 1
2 | SilQ+ Ultra high purity quartz nebulizer, low internal volume, nominal uptake 0.5 mL/min @ 50 psi, with FG PFA gas fitting and F2 sample uptake line for ICP-MS Agilent 7800 Meinhard1 |  | kom | 1
3 | ICP-MS INTERNAL STD, 100-150 mL 10 μg/mL: Bi, Ge, In, Li6, Sc, Tb, Y for ICP-MS Agilent 7800 |  | kom | 1
4 | Nickel (Ni) skimmer cone (standard for 7700x/7900/8800) for ICP-MS Agilent 7800 |  | kom | 1
5 | Agilent 7700 One Piece Quartz Torch (2,5 mm i.d.) for ICP-MS Aginlent 7800 |  | kom | 1
6 | Agilent Vacuum Fluid oil 45 Platinum, 1 galon Inland 45 |  | kom | 1
7 | 3 stop Peristaltic Pump Sample Tubing, Solva Resistsant, Non-Flared, 1.02 mm, 82 mm bridge distance, 12/pk (white/white/white), 12 pc |  | pak | 1
UKUPNO BEZ PDV-a | [5 empty] | 0
PDV 25% | [5 empty] | 0
UKUPNO S PDV-om | [5 empty] | 0

## Grupa 2
Prilog 2.
Troškovnik_Grupa 2_Potrošni i rezervni dijelovi za ICP-OES Optima 2100DV
Redni broj | Traženi predmet nabave, opis i tehničke specifikacije | Naziv/Tip: | Jed. mj. | Količina | Jedinična cijena bez PDV-a | Ukupna cijena bez PDV-a | Naziv proizvoda i proizvođača nuđenog jednakovrijednog proizvoda i tehnička specifikacija proizvoda (ispunjava se samo ako se nudi jednakovrijedni proizvod)
Proizvođač:
1 | Quartz Torch Tube for PE for ICP-OES Optima 2000/4000/5000, DV, 1 slot |  | kom | 1
2 | Alumina injector, 2.0 mm I.D. for ICP-OES Optima 2100 DV |  | kom | 1
3 | Quartz Torch Bonnet for ICP-OES Optima 2100 DV |  | kom | 1
4 | Peristaltic Pump Tubing, PVC, 2-stop, 0.76 mm, 151 mm bridge distance (black/black), 12/pk |  | pak | 1
5 | Standard Solva 2-stop Tubing, 140 mm Bridge Lenght, 1.14 mm (red/red) 12/pk |  | pak | 1
6 | Standard PVC 3-Stop Tubing, 72 mm Bridge Lenght, 0.19 mm (orange/red) 12/pk |  | pak | 1
7 | Peristaltic Pump Tubing, Santoprene, 3-stop, 1.52 mm (yellow/blue/yellow), 72 mm bridge distance 12/pk |  | pak | 1
8 | Oil Element for EMF20 Outlet Mist Filter |  | kom | 1
UKUPNO BEZ PDV-a | [5 empty] | 0
PDV 25% | [5 empty] | 0
UKUPNO S PDV-om | [5 empty] | 0

## Grupa 3
Prilog 2.
Troškovnik_Grupa 3_Potrošni i rezervni dijelovi za CFA Skalar
Redni broj | Traženi predmet nabave, opis i tehničke specifikacije | Naziv/Tip: | Jed. mj. | Količina | Jedinična cijena bez PDV-a | Ukupna cijena bez PDV-a | Naziv proizvoda i proizvođača nuđenog jednakovrijednog proizvoda i tehnička specifikacija proizvoda (ispunjava se samo ako se nudi jednakovrijedni proizvod)
Proizvođač:
1 | Pusher 22mm cups (chamfered) for SKALAR Primacs 100-IC |  | kom | 1
2 | 4000 samples SNC 100-IC for SKALAR Primacs 100-IC |  | kom | 1
3 | O-ring Silicone 18.77 x 1.78 for SKALAR Primacs 100-IC |  | kom | 10
4 | O-ring Silicone 28.17 x 3.53 for SKALAR Primacs 100-IC |  | kom | 10
5 | O-ring 10x3,5mm Viton for SKALAR Primacs 100-IC |  | kom | 1
6 | O-ring Si 8x2 (ldxcs) set of 5 pcs for SKALAR Primacs 100-IC |  | kom | 5
7 | Dust / disc filter 0,1 μm 1/8 for SKALAR Primacs 100-IC |  | kom | 1
8 | Pumptubing orange/green 0.10 mL/min for SKALAR Primacs 100-IC |  | kom | 1
9 | Dialyser 150 mm for SKALAR Primacs 100-IC |  | kom | 1
UKUPNO BEZ PDV-a | [5 empty] | 0
PDV 25% | [5 empty] | 0
UKUPNO S PDV-om | [5 empty] | 0